AALIM MUHAMMED SALEGH COLLEGE OF ENGINEERING

DEPARTMENT OF MECHANICAL ENGINEERING

ME2304 - ENGINEERING METROLOGY & MEASUREMENTS

PART-A

UNIT I- CONCEPT OF MEASURMENT

1. What is  Range of measurement?:

The physical variables that are measured between two values. One is the higher calibration value H , and the other is Lower value L, The difference between H, and L, is called range.

2. . What is Resolution:

The minimum value of the input signal is required to cause an appreciable change in the output known as resolution.

3. Differentiate between sensitivity and range with suitable example. 
Example: A Instrument have a scale reading of 0.01mm to 100mm.

Here, the sensitivity of the instrument is 0.0lmm i.e. the minimum value in the scale by which the instrument can read. The range is 0.01 to 100mm i.e. the minimum to maximum value by which the instrument can read.

4. Deflne system error and correction.,

Error: The deviation between the results of measured value to the actual value.

Correction:  The numerical value which should be added to the measured value to get the correct result.

5. Define: Measurand.

Measurand is the physical quantity or property like length, diameter, and angle to be measured.

6.   Define: Deterministic Metrology.

The metrology in which part measurement is replaced by process measurement. The new techniques such as 3D error compensation by CNC systems are applied.

7.Define over damped and under damped systenL

Over damped - The final indication of measurement ii approached exponentially from one side. Under damped - The pointer approach the position corresponding to final reading and makes a number of oscillations around it.

8.Give any four methods of measurement

1. Direct method.

2. Indirect method.

3. Comparison method.

4. Coincidence method.

9. Give classification of measuring instruments.

1. Angle measuring Instruments.

2. Length measuring Instruments.

3. Instruments for surface finish.

4. Instruments for deviations.

10 .Define  True size:

True size is Theoretical size of a dimension

11. Define Actual size

Actual size = Size obtained through measurement with permissible error.

12. What is  Hysteresis

All the energy put into the stressed component when loaded is not recovered upon unloading. So, the output of measurement partially depends on input called hoteresis.

13. Differentiate  accuracy and Uncertainty with example.

Accuracy - Closeness to the true value.

Example:  Measuring accuracy is ± 0.02mm for diameter 25mm. Here

14.Define  Span:

The algebraic difference between higher calibration values to lower calibration value.

Example: In a measurement of temperature higher value is 200*C and lower value is 1500C means span = 200 - 150 = 50'C

15 Differentiate between precision and accuracy.

Accuracy - The maximum amount by which the result differ from true value.

Precision - Degree of repetitiveness. If an instrument is not precise it will give different results for the same dimension for the repeated readings.

16. What is Scale interval?

It is the difference between two successive scale marks in units.

17. What is Response time:

The time at which the instrument begins its response for a change measured quantity.

18. Define Repeatability:

The ability of the measuring instrument to repeat the same results g the act measurements for the same quantity is known as atability.

19. Explain the term  magniftication:

It means the magnitude of output signal of measuring instrument times increases to make it more readable.

20. Classify the Absolute error.

The absolute error is classified into 	1. True absolute error 	2. Apparent absolute error

21. What is Relative error.

Relative error is defined as the results of the absolute error and the, value of comparison used for calculation of that absolute error. The comparison may be true value or conventional true value or arithmetic rnean for series of measurement.

22. Classify the errors

The errors can be classified into

1.   Static errors - Reading errors

-	Characteristic errors,

-	Environmental errors

2. Loading errors	3. Dynamic error

23. What is the basic Principle of measurement:

It is the physical phenomenon utilized in the measurement. If energy kind of quantity measured, there must be a unit to measure it. So this will give the quantity to be

measured in number of that unit.

24. What are the applications of Legal metrology ?

1. industrial MeasufWen~

2. Commercial transactions

3. Public health and human safety ensuring.

24. What is the  need of inspection

To determine the fitness of new made materials, products or component part and to compare the materials, products to the established standard.

25. What are the important elements of measurments? 
	The important elements of a measurement is

I . Measurand	2. Reference	3. Comparator

26. What is  LEGAL METROLOGY

Legal metrology is part of Metrology and it is directed by a National Organisation which is

called "Notional service of Legal Metrology". The main objective is to, maintain uniformity of measurement in a particular country.

UNIT II - Linear and Angular Measurments

27. What are the considerations while manufactureing the  slip gauges?

The following additional operations are carried out to obtain the necessary qualities in slip gauges during manufacture.

1.  First the approximate size of slip gauges is done by preliminary operations.

2.  The blocks are hardened and wear resistant by a special heat 	treatment process.

3.  To stabilize the whole life of blocks, seasoning process is done.

4.  The approximate required dimension is done by a final grinding process.

28. How do you calibrate the slip gauges?

Comparators are used to calibrate the slip gauges.

29. List the various linear measurements?

(i) Length	(ii) Heights and (iii) Thick fiess

30.What are the various types of linear measuring instruments?

The various devices used for measuring the linear measurements are

i.Vernier calipers	ii. Micrometers	iii. Slip gauge or gauge blocks  iv.

Comparator

31.List out any four angular measuring instrument used in metrology

(i) Angle gauges (ii) Divided scales (iii) Sine bar with slip gauges (iv) Autocollimator (v) Angle dekkor

32.What is comparators?

Comparators are one form of linear measurement device which is quick and more convenient for checking large number of identical dimensions.

33.Classify the comparator according to the principles usedfor obtaining magnification.

The common types are: (i) Mechanical comparators. (ii) Electrical comparators. (iii) Optical 
	comparators. (iv) Pneumatic comparators.

34. How the mechanical comparator works?

The method of magnifying small movement of the indicator in all mechanical comparators are effected by means of levers, gear trains or a combination of these elements.

35. State the best example of a mechanical comparator.

A dial indicator or dial gauge is used as a mechanical comparator.

36. Define least count and mention the least count of a mechanical comparator.

Least count. - The least value that can be measured by using any measuring instrument known as least count. Least count of a mechanical comparator is 0.0 1 mm

37. How the mechanical comparator is used? State with any one example.

Let us assume that the required height of the component I s 32.5mm. Initially, this height is built up with slip gauges. The slip gauge blocks are placed under the stem of the dial gauge. The pointer in the dial gauge is adjusted to zero. The slip gauges are removed- Now, the component to be checked is introduced under the stem of the dial gauge. If there is any deviation in the height of the component, it will be indicated by the pointer.

38. State any four advantages of reed type mechanical comparator.

(i)  It is usually robust, compact and easy to handle.

(ii)  There is no external supply such as electricity, airrequired.

(iii) It has very simple mechanism and is cheaper when compared to other types. (iv) It is suitable for ordinary workshop and also easily portable.

39. Mention any two disadvantages of reed type mechanical comparator.

(i) Accuracv of the comparator mainly depends on the accuracy of the rack and pinion arrangement. Any slackness will reduce accuracy.

(ii) It has more moving parts and hence friction is more and accuracy is less.

40. What are the major types of on electrical comparator?

An electrical comparator consists of the following three major parts such as

(i) Transducer	(ii) Display device as meter	(iii) Amplifier

41. On what basis the transducer works?

An iron armature is provided in between two coils held by a leaf spring at one end. The other end 
is supported against a plunger. The two coils act as two arms of an A.C. wheat stone bridge circuit.

42. How is the accuracy of an electrical comparator checked?

To check the accuracy of a given specimen or work, first a standard specimen is placed under the plunger. After this, the resistance of wheat stone bridge is adjusted that the scale reading shows zero. Then the specimen is removed. Now, the work is introduced under the plunger.

43.   State the working principle of an electronic comparator.

In  electronic  comparator,  transducer  induction  or  the  principle  of  application  of  frequency modulation or radio oscillation is followed.

44. Mention the importantparts of an electronic comparator.

(i) Transducer (ii) Oscillator (iii) Amplifier(iv) Demodulator (v) Meter

45. Classify pneumatic comparators.

(i) Flow or Velocity type. (ii) Back pressure type

46. What are the advantages of electrical and electronic comparator?

(i)	It has less number of moving parts.	(ii)	Magnification obtained is very high.

(iii)  Two or more magnifications are provided in the same instrument to use various ranges.

(iv)  The pointer is made very light so that it 'IS more sensitive to vibration.

47. What are the disadvantages of electrical and electronic comparator?

(i) 	External agency is required to metre for actuation.

(ii)  Variation of voltage or frequency may affect the accuracy of output. (iii)  Due to heating coils, the accuracy decreases.

(iv)  It is more expensive than mechanical comparator.

48. List the various parts of an optical comparator

The optical comparator consists of the following parts such as

(i) Pivoted lever.	(ii) Objective lens	(iii) Scale

(iv) Plunger	(v) Table and	(vi) Base.

48. What are the advantages ofpneumatic comparator?

(i) The wear of measuring heads is avoided due to absence of direct contact.

(ii) Friction is less due to less number of moving parts.

(iii)Work piece is cleaned by supplying of all during the measurement. (iv)High magnification is possible.

(v) There is no interference of measuring head and indicating device because the measuring head is 
	kept away from the indicating device.

(vi)lt is a suitable method to check ovalty and taperness of circular bore.

UNIT III - FORM MEASUREMENT

49. Name the various types of pitch errors found in screw?

(i) Progressive error	(ii) Drunken error	(iii) Periodic error (iv) Irregular errors.

50. Name the various methods of measuring the minor diameter of the thread.

(i) Using taper parallels. (ii) Using rollers and slip gauges.

51.Name the various methods used for measuring the major diameter

(i) Ordinary micrometer (ii) Bench micro meter

52.   Name the various methods for measuring effective diameter.

(i) One wire method	(ii) Two wire method	(iii) Three wire method.

I

53. Name the various methods for measuring pitch diameter.

(i) Pitch measuring machine (ii) Tool maker ic (iii) Screw pitch gauge.

54. Name the two corrections are to be applied in the measurement of effective diameter.

(i)rake corrections 	(ii) Compression correction,

55.   What is best size of wire?

Best size of wire is a wire of such diameter that it makes contact with the flanks of the thread on the pitch line.

56. Define. Drunken thread

This is one, having erratic pitch, in which the advance Of the helix is irregular in one complete revolution of thread.

57. What is the effect of flank angle error?

Errors in the flank cause a virtual increase in the effective diameter of a bolt and decrease in that, of nut.

58. What are the applications of toolmaker's microscope?

(i) Linear measurement (ii) Measurement of pitch of the screw (iii) Measurement'of thread angle.

59. Define: Periodic error.

The periodic error repeats itself at equal intervals along the thread.

60. What are the commonly used forms of gear teeth?

(1) Involute	(ii) Cycloidal

61. what are the types of gears?

(i) Spur	(ii) Helical	(iii) Bevel (iv) Worth and Worm wheel (v) Rack and pinion.

62. Define: Module

Module= pitch circle diameter/ number of teeth

63. Define: Lead angle

It is the angle between the tangent to the helix and plane perpendicular to the axis of cylinder.

64. What are the various methods used for measuring the gear tooth thickness?

(i) Gear tooth vernier (ii) Constant chord method (iii) Base tangent method (iv) Measurement over pins.

65. Name four gear errors.

(i) Pitch error (iii) Alignment error (ii) Composite error (iv) Thickness error

66. Name the method used for checking the pitch of the gear.

(i)  Step by step method. (ii) Direct angular measurement.

67. What are the direct angular measurements methods?

1. Profile checking:    a) Optical projection method b) Involute measuring method.

2. Thickness measurement: a) Chordarl thickness method b) Constance chord method.

68. Define : constant chord

Constant chord is the chord joining those points, or opposite Aaces of the tooth.

69. Give the formula for measuring radius of circle.

R =   (I - d)2 
	8d

Where,   R=Radius of the job 	1 = Distance between the balls       d = Diameter of pins.

70. What are the two methods used in measuring radius of concave surface.

a) Edges are well defined. b) Edges are rounded up.

71. What are the factors affecting surface roughness?

a) Vibrations b) Material of the work piece  c) Tool    d) Machining type

72. What are the methods used for evaluating the surface finish?

a)  Peak to valley height method. 	b)The average roughness method. c)  Form factor method.

73. Define fullness and emptiness in form factor.

Degree of fullness (K)= area of metal /Area of enveloping rectangle Degree of emptiness = 1 - K

74 What are the methods used for measuring surface roughness?

a) Inspection by comparison b) Direct instrument measurements.

75.  What are the stylus probe instruments?

a) Profilo meter b) Taylor Hobson Talysurf      c) Tomlinson surface meter

76. Define: Straightness of a line in two planes.

A line is said to be straight over a given length, of the variation of the distance of its points from two planes perpendicular to each other and parallel to the direction of a line remaining within the specified tolerance limits.

77. Define: Roundness. Name the four measurement of  roundness.

It is a surface of revolution where all the surfaces intersected 'by any plane perpendicular to a common axis in case of, cylinder and cone. a. Heart square circle. b. Minimum radial separation circle. c. Maximum inscribed circle. d. Minimum circumscribed circle.

78. Name the devices used for measurement of roundness.

1. Diametral	2. Circumferential confining gauge.	3. Rotating on center.

4. V-Block	5. Three point probe	6. Accurate spindle.

79. Define : lay

Lay: -Direction of the 'predominate surface pattern'

80. What is runout?

Run out. -Total range of reading of a fixed indicate Or with the contact points applied to a Surface 
	rotated, without axial movement, about 3 fixed axis.

UNIT IV  -  LASER AND ADVANCES IN METROLOGY

81 What is interferometer?

Interferometer is optical instruments used for measuring flatness and determining the lengths of slip gauges by direct reference to the wavelength of light.

82 Name the different types of interferometer?

1)  NPL flatness interferometer 2)Michelson interferometer

3) Laser interferometer 	4) Zesis gauge block interferometer.

83 Name the common source of light used for interferometer

a.   Mercury 198     b.Cad minus     c.Krypton 86   d. Helium	e. Hydrogen

84 What is crest and trough?

The light is a form of energy being propagated by electromagnetic waves, which is a sine curve. The high point of the wave is called crust and the low Point is called is trough.

85. What is wavelength?

The distance between two crust or two rough is called the wavelength

86.   What is meant by alignment test on machine tools?

The alignment test is carried out to check the grade of manufacturing accuracy of the machine 
tool.

87. List the various geometrical checks made on machine tools.

a. Straightness of guide ways and slide ways of machine tool.

b. Flatness of machine tables and slide ways.

c. Parallelism, equidistance and alignment of the slide ways.

d. True running and alignment of shaft and spindle.

e. The pitch error or lead of lead screw. f. Pitch errors of gears.

88. Distinguish between geometrical test and practical test on a  machine tool

The alignment test is carried out to check the grade of manufacturing accuracy of the machine tool. Performance test consist of checking the accuracy of the finished component. Alignment test consist of checking the relationship between various machine elements when the machine tool is idle. Performance test consists of preparing the actual test jobs on the machine and checking the accuracy of the jobs produced.

89. What are the main spindle errors?

a)  Out of round.b) Eccentricity    c) Radial throw of an axis.  d) Run out  e) Periodical axial slip

90. Write the various tests conducted on any machine tools

1.Test for level of installation of machine tool in horizontal and vertical planes.

2.Test for flatness of machine bed and for straightness and parallelism of bed ways on bearing surface.

3.Test for perpendicularity of guide ways to other guide ways.

4.Test for true running of the main spindle and its axialmovements.

91. Why the  laser is used in alignment testing?

The alignment tests can be carried out over greater distances and to a greater degree of accuracy using laser equipment. Laser equipment produces real straight line, whereas an alignment telescope provides a, imaginary line that cannot be seen in space.

92. Classify the machine tool test.

It can be classified into	1. Static tests	2. Dynamic tests.

93. What are the different types of geometrical tests conducted on machine tools?

1. Straightness. , 2. Flatness. ,3. Parallelism, equi-distance and coincidence.

94. What is the principle of laser.

The photon emitted during stimulated emission has the same energy, phase and frequency as the incident photon.

This principle states that the photon comes in contact with another atom or molecule in the higher energy level E2 then it will cause the atom to return to ground state energy level E, by releasing another photon.

The  sequence  of  triggered  identical  photon  from  stimulated  at  In  is  known  as  stimulated emission. This multiplication of photon through stimulated emission' leads to coherent, powerful, monochromatic, collimated beam of light emission. This light emission is called laser.

95.What is CMM?

It is a three dimensional measurements for various components. These machines have precise

movement is x,y,z coordinates which can be    easily controlled and measured. Each slide in three

directions is equipped with a precision linear measurment transducer which gives digital display and senses positive and negative direction.

96. Define axial length measuring accuracy

it is defined as difference between the reference length of gauges aligned with a machine axis and the corresponding measurement results from the machine.

97. Write the types of coordinate measuring machines

1.   Bridge type	3.   Vertical bore mill

2.   Horizontal bore mill	4.   Spherical coordinate measuring machine

98.   Explain CNC, CMM briefly.

A computer numerical control system can be used with CN4M to do calculations while measuring complex parts. Error can be stored in memory while doing calculations. For automatic calibration of probe, determination of co-ordinate system, calculation, evaluation and recording etc., special software's are incorporated.

99.Write some features of  CMM software.

Measurement of diameter, center distance can be measured as follows:

1.   Measurement of plane and spatial curves	4.   Digital input and output command

2.	Minimise CNC programme.]	5.   Interface to CAD software

3.	Data communications.

100. Define machine vision.

Machine vision can be defined as a means of simulating the image recognition and analysis capabilities of the human system with electronic and electromechanical techniques.

101. What are thefour basic types of machine, vision system?

(i)	Image formation.

(ii)  Processing of image.

102. Write the advantages of machine vision system.

(i)   Reduction of tooling and fixture cash.

(ii)  Elimination of need for precise part location.

103. Define grayscale analysis.

( iii)	Analyzing the image

(iv)	Interpretation of image.

(iii)  Integrated automation of dimensional 
verification 	(iv)Defect detection.

In these techniques, discrete areas or windows are formed around only the portions of the image to be inspected.

For determining if brackets are present, high intensity lighting is positioned. This type of discrete area analysis is

a powerful tool and can be used for inspection of absence, correct part assembly, orientation, part, integrity, etc.

104 Mention the advantages of CMM.

(i)	The inspection rate is increased.

(ii)	Accuracy is reduced.

(iii)	Operator's error can be minimized. Skill

of the operator is reduced.

(i) The table and probe may not be in perfect alignment. (ii) The stylus may have run out.

(iii)The stylus moving in z-axis may have some perpendicularity errors.

(iv)Styius while moving in x and y direction may not be square to each other.

(v)There may be errors in digital system.

106. Mention the application of CMM.

(i)CMM's to find application in automobile., machine to,,electronics, space and many other large companies. (ii) These are best suited for the test and inspection Of test equipment, gauges and tools. 
(iii)For aircraft and space vehicles of hundred Percent inspections is carried out by using CMM. 
(iv)CMM can be used for determining dimensional accuracy of the component.

(v) CMM can also be used for sorting tasks to achieve optimum pacing of components within tolerance limits.

107. Describe the features of a flexible inspection system.

(i)  A powerful computer serves as a real tirne processor to handle part dimensional data and as a multi 'programming system to perform such tasks as manufacturing p I rocess control.

(ii)  The terminal provides interactive communication with personnel Computer where the programmes are 
stored. (iii) Input devices microprocessor based gauges and other inspection devices are used in CMM.

108. Write brief note about   (i) Co-ordinate measuring machine equipped with a laser probe (ii) Virtual measuring 
system

A CMM equipped with a laser probe can convert a  part of physical model into a digitize file. Such a

file can be compared with other file and can be manipulated by designers to improve quality. Manufactures can verify that each finished part measures exactly as designed.

Virtual measuring System uses a rnicroscope system to' examine an electronic replica of the Surface texture of part. Such a system is non-contact 3-1) Surface measurement system and provide image of the surface. The images are processed on a PC using vertical scanning interferornetry and vision analysis software to produce 2D-profile, 3-D plots and counter plots.

It  generates  statistics  for  average  roughness,  average  profile  height,  reduced  peak  height,  cares roughness depth, reduced valley depth and a number of other parameters. It also determines the depth, spacing and angle of groove in a hared surface optical probe of a cylinder bore can be rotated  360 degrees and moved vertically along the cylinder wall.

109. Explain briefly the three important fields of machine vision system

Inspection: ]t is the ability of an automated vision system to recognize well-defined pattern and if these pattern match these stored in the system makes machine vision ideal for inspection of raw materials, parts, assemblies etc. 
Part  identification:  It  is  the  ability  of  part  recognition  provides  positive  identifications  of  an  object  for decision-making purposes.

Guidance and Control. Machine vision systems are used to provide sensor feedback for real time guidance.

UNIT   V - MEASUREMENT OF POWER, FLOW  AND TEMPERATURE

RELATED PROPERTIES

110.What are load cells?

Are devices for the measurement of force  through indirect methods.

111. Give the principle of hot wire anemometer

When a fluid flows over a heated surface heat is transferred from the surface and so the temperature reduces.The rate of reduction of temperature is related to flow rate.

112. State any four inferential type of flowmeters

Venturi meter, orificemeter, rotameter, pitot tube.

113 What is the principle involved in fluid expansion thermometer?

Change in pressure in the bulb is taken as an indication of the temperature.

114. Mention the principle involved in bimetallic strip.

Is based on change in dimension

115 What is thermocouple?

When two metals are joined together it will create an emf and it is primarily a function of the junction temperature.

116 What is a Kentometer?

It is a device for measurement of absolute pressure.

117 What is thermopile?

When thermocouples are connected in series it is called thermopile